# Appendix 10a: Bed Space Checklist for Neonatal Unit (1 week commencing on a Sunday)

| HOSPITAL: Royal Hospital for Children WARD: Neonatal Unit | ROOM: | SPACE: |
| --- | --- | --- |
| Date and Time: |  |  |  |  |  |  |  |
| Signature: |  |  |  |  |  |  |  |
| Designation: |  |  |  |  |  |  |  |
| Clean O2 & Suction |  |  |  |  |  |  |  |
| Clean Bedside Locker ( clean basin and store upside down) |  |  |  |  |  |  |  |
| Clean & Inspect Mattress *SEE FOOTNOTE |  |  |  |  |  |  |  |
| Clean Cot / Incubator Frame |  |  |  |  |  |  |  |
| Make Cot / Incubator with fresh linen |  |  |  |  |  |  |  |
| Change suction pot and tubing (as required and on discharge) |  |  |  |  |  |  |  |
| Clean Pendant Monitoring (to level of cross beam) |  |  |  |  |  |  |  |
| Clean all other bedside equipment e.g. ventilators, nitric, CPAP, Vapotherm, stethoscope |  |  |  |  |  |  |  |
| Clean Bedside Lamp & check working |  |  |  |  |  |  |  |
| Clean Hand Rub Nozzle & replace if required |  |  |  |  |  |  |  |
| Clean Emergency Buzzer |  |  |  |  |  |  |  |
| Empty & clean Cot / Mattress on discharge |  |  |  |  |  |  |  |
| Infection Control Leaflets replaced (discard unused leaflets) at discharge |  |  |  |  |  |  |  |
| PLEASE ENSURE ANY FAULTY EQUIPMENT IS REPORTED TO ESTATES OR MEDICAL PHYSICS AS SOON AS IT IS DISCOVERED |

*Unzip mattress cover & inspect mattress for any contamination.  If cot mattress it should be checked for any obvious breaks in the fabric.

If a mattress is found to be contaminated, remove from use and inform the SCN.  The SCN will inform the Lead Nurse or Service Manager.

(Weekly SOP has been passed by:    Kate Hamilton, Acting Nurse Consultant IPC)