Clyde Biochemistry Laboratory Handbook

A 24 hour biochemistry service is available from all three main hospital sites in Clyde: the Inverclyde Royal Infirmary, the Royal Alexandra Hospital and the Vale of Leven Hospital.

Between them the laboratories handle over 7 million tests per annum.

The laboratories are enrolled in National External Quality Assurance Schemes for all tests.

Laboratory Hours

Routine Service: 	Weekdays					08.30 - 17.00 hrs

Restricted Service:	Saturday, Sunday and bank holidays

Royal Alexandra Hospital			09.00 - 12.00 hrs

Inverclyde Royal Hospital 			08.30 - 12.00 hrs

Vale of Leven					N/A

Routine samples for hospital patients are analysed with a usual turnaround of half a day.

Essential tests are carried out on urgent samples at other times, most being analysed within one hour of receipt in the laboratory.

At the Vale of Leven hospital out of hours iStat analysers are available for emergency tests (see POCT section) and the other tests on the Urgent out of hours repertoire can be accessed at the RAH laboratory.

Telephone and Result Enquiries

Within the hospital results can be accessed through Trakcare or the Clinical Portal. It is not helpful to phone the laboratory for results as this delays other work.

For primary care access is through SCI or Share point as it becomes more widely available within GG&C.

If you need an access password within the hospital complete the relevant form found on Staffnet under Applications.

All staff are reminded to help prevent unauthorised access of confidential data.

Do not allow unauthorised persons to see data on screens. Log off after use. Do not allow, by action or inaction, the disclosure of information to any unauthorised person.

An audit trail of your access is retained on the system.

Severely abnormal results will be phoned to the ward/ practice/ secretary to pass information on to the clinician (see web site for full details).

When severely abnormal results are detected on primary care samples out of hours NHS 24 will be contacted if it is thought the results might need urgent attention.

Add on Tests

The Department utilises an email based service for routine Biochemistry add-on tests on samples already sent from Primary and Secondary Care locations to the RAH, IRH and VoL laboratories. This service is in operation Monday – Friday 08:30 – 17:00, excluding public holidays. All requests for email add-on’s must be sent from a secure NHS email, i.e. nhs.scot, ggc.scot.nhs.uk etc. Requests sent from personal or non-secure sources will not be processed.

The mailbox will be monitored regularly and results for add-on tests should be available within a maximum of 4 hours. For urgent requests from secondary care locations, (particularly acute care locations), it is advised that a new sample is sent to the Laboratory for analysis.

Requests should emailed to: ggc.clyde.biochemistryaddon@nhs.scot

All email requests must contain the following information:

- Location*

  - *It is essential that the hospital / primary care site and location is indicated in the request, both in the subject line and the main body

- Patient Name

- Patient CHI number

- Test(s) to be added on

- Sample details*

  - *if required to be added to a specific sample

The department will respond to each add-on request made to notify users that the request has been processed / cannot be processed.

For requests outwith these times for secondary care only a paper request slip must be submitted to the laboratory. This paper request slip, [LF-CBIO-238] is available in the document library within the Clyde Biochemistry website. Other paper forms will not be accepted.

During periods of significant service disruption within Clyde Biochemistry the Email Add-On service may be temporarily withdrawn. On these occasions the department will utilise the automatic replies function to alert users to the service being temporarily unavailable.

We cannot accept add on requests for unstable analytes. This applies in particular to bicarbonate. If you are not sure contact the laboratory. Samples are stored in the laboratory for about 3 days.

User Satisfaction and Feedback.

If you have reason to have concern about the accuracy of a result this may require urgent action – please discuss with the duty biochemist.

If you have positive or negative feedback on the laboratory’s service, or if you wish to make a complaint, please contact:

Technical or General Issue:

Ms Karen Brazier

Technical Services Manager

Clinical Issue:

Dr Helen Falconer

Clinical Lead

Address:

Biochemistry Department

Royal Alexandra Hospital

Corsebar Road

Paisley

PA2 9PN

Contact Telephone Numbers:

Inverclyde Royal Hospital:	01475 504827			ext 04827

Emergency requests			0141 314 4213		ext 04213

Royal Alexandra Hospital:  		0141 314 6157    		ext 06157

Vale of Leven Hospital:  		01389 817568   		ext 87568

If you are seeking clinical advice please ask to speak to the reporting biochemist.

Clinical Advice can also be obtained by emailing our advice

Email address: ClydeBiochemAdvice@ggc.scot.nhs.uk

POCT testing (Blood gas analysers, hospital glucose meters etc):

Please email routine enquiries regarding these analysers or meters and barcodes for using them to: Clyde.BiochemistryPOCT@ggc.scot.nhs.uk

Senior Staff – senior staff can be contacted for advice and outside normal working hours the on-call Biochemist may be contacted via the switchboard (the on-call rota being shared between staff from Clyde, QEUH and GRI).

Colleen Ross				Consultant Clinical Biochemist	ext 06056

Andy Kerry	Consultant Clinical Scientist 	ext 06657

Christina Kanonidou		Consultant Clinical Biochemist	ext 06209

Helen Falconer			Consultant Clinical Scientist	ext 07585

Karen Brazier			Technical Services Manager	ext 06098

Jonny Strachan		           Principal Scientist                         	ext 09574

Louise O’Donnell			Principal Scientist               	ext 07199

Louisa Lee				Principal Scientist			ext 06055

Index – Please use the hyperlinks to the relevant section

Request forms - minimum patient i.d.

Safety and Dangerous Specimens

Urgent requests – pneumatic tube

Blood gases, glucose and point of care testing

Specimens and correct containers

Clinical Information

Renal function and eGFR

Electrolyte Disorders

Hypophosphataemia

Lipids and cardiovascular risk assessment

Diabetes – diagnosis and  gestational diabetes

Thyroid function testing

Menopause / amenorrhoea

Tumour markers

Therapeutic drug monitoring

Nt Pro BNP

Electrolyte Abnormalities

Myeloma, paraproteins and MGUS.

qFIT

Urine catecholamines

Paediatric Hypogylcaemia Tests

Reference ranges and specific sample requirements

Phone Limits

Paediatric Samples

Reference Ranges for Maternity and Neonates

Request Intervention

Test Profiles

Nutrition

Appendices

Accreditation

Laboratory Requests:

As per section 2.13 of the Laboratory Quality Manual (available on the Clyde Laboratories Internet website), and in addition to any other formal agreements which may be in place:

The Department acknowledges that:

Each request accepted by the laboratory for examination(s) shall be considered an agreement.

Request Forms – Patient Identification

Identification errors can have grave consequences for the patient.

Please use Trakcare for ordering tests for secondary care patients, and ICE, if available, for primary care patients.

Ensure correct specimen types are collected as dictated by Trakcare request form, specimen labels are specific for bottle type. Each bottle may only have one sticker attached to it. Please attach labels with the long axis of the label parallel to the long axis of the bottle. If the label is mis-printed and is unclear or not on an adhesive label, please re-print the label.

For Trakcare only the label is used when the sample arrives in the laboratory, the counterpart form being disregarded on receipt unless there is an IT failure. Therefore please do not write additional tests or sampling handling requests for the lab on the form, as they will be missed.

Some more specialized tests are not in the ICE catalogue, and some very specialized tests are not in the Trakcare catalogue. For these tests please send a paper request form, along with additional suitable specimen tubes for the tests requested. If you are not sure what tubes are required, please contact the laboratory.

If a manual form is required please write legibly on request forms and use patient identification stickers where available for both specimen tubes and form. If the form is one with a second duplicate layer it is best to label both copies of the form as some sites require this.

Requests with inadequate or mismatching identification will be refused. Unnamed samples will not be analysed.

The request form should give the name, date of birth, address and CHI number.

The sample must give the CHI, name and date of birth.

The form can be used for chemistry and haematology requests together in one bag but please send urine samples with a separate form and bag (they tend to leak!).

Samples for other disciplines

Please ensure that samples for laboratory disciplines other than Biochemistry and Haematology are requested on that discipline’s request form, not the Blood Science request form. They should be placed in a separate sample bag, and if coming from primary care should be placed in an appropriately coloured transport bag (blue for microbiology, grey for immunology, teal for virology).

Temporary Residents / Patients without CHI

CHI is a requirement for acceptance of requests to the laboratory. Temporary residents from outwith Scotland will not have a CHI.

Within Hospitals Trakcare can generate a “TJ number” for patients who do not have a CHI.

Outwith Hospitals the electronic ordering system will generate an “ICE number” for patients who do not have a CHI.

ICE electronic ordering will be rolled out to all practices served by Clyde Laboratories. Until such time, if a patient does not have a CHI number please state clearly that the patient is a “Temporary Resident” in the clinical details part of the request form and ensure that both the request form and sample have the following, matching patient details:

Name (first name and surname)

Date of Birth

First line of address

Safety and Dangerous Specimens

Leaking Samples

Leaking samples will not be processed by the laboratory. It is much better to send urine samples separately as leakage over a blood sample packaged with it will mean both samples are discarded.

Samples in vacuette tubes which have been decapped during the process of blood sampling are more likely to leak. Please do not ever remove the lid from vacuette tubes – if the sample leaks it may potentially contaminate and prevent the analysis of many other samples.

Blood Borne viruses

Clinical staff need no longer use “DANGER OF INFECTION” stickers to highlight samples containing (or suspected of containing) blood borne viruses (BBV) such as HIV and hepatitis B or C.  It is not necessary to alert the laboratory about potential infectivity of such samples since the laboratory observes standard precautions.

Category 4 pathogens e.g. Lassa fever, Ebola

The department cannot accept, analyse or store any sample from a patient with an illness suspected of being caused by a category 4 pathogen.

These patients should not be in these hospitals.

These are organisms with no known treatment that cause serious human disease, can be a serious hazard to employees and may spread in the community.

If there is any concern about the safety of sending a sample to the laboratory, please discuss with a Consultant Biochemist prior to sending the sample, and preferably prior to venesection / sampling.

Tuberculous meningitis

Users MUST alert relevant the laboratory by phone (or contact on call consultant via switchboard out of hours) for the following samples:

CSF from patients with tuberculous meningitis (or high suspicion of).  (CSF spectrophotometry would not be performed on such samples).  Additionally such samples should not be sent via the pneumatic tube system.

Confidentiality

The laboratory treats results produced as confidential. Results will be available via approved electronic systems (Trakcare, Clinical Portal, SCI Store etc). Results will be sent, in paper or electronic form, only to the location requesting them.

Results will be provided on telephone enquiry to the laboratory only to clinical staff responsible for the patient or their deputies (ward clerks, practice receptionists etc). Under no circumstances will the laboratory provide results or discuss results with patients or their relatives.

Consent

All testing should be undertaken with consent of the patient. For routine Biochemistry Testing implied consent should be sufficient. If the result may have significant medico-legal, forensic, or medical implications for the patient recording consent in patient notes may be appropriate.

Note that other laboratory disciplines, particularly genetics and virology, may have stronger recommendations or requirements for consent.

Discrimination

All testing will be performed in such a way to uphold the right of patients to care that is free from discrimination.

Data Protection

Laboratory processes account for the General Data Protection Regulation (GDPR) 2018.

Venesection

Please ensure that all waste materials associated with venesection are disposed of in the correct sharps bin (if sharps) and into appropriate waste disposal routes advised locally for other blood contaminated materials.

Please avoid removing the top of vaccutainer tubes. If not replaced correctly they may leak, contaminating and preventing the analysis of the sample in question and potentially many other patient’s samples if it leaks whilst being processed.

Samples should never be sent to the lab with needles still in situ.

Urgent Requests and Result Turnaround Times – Hospital Patients

Routine tests are usually reported within half a day of receipt.

For samples sent marked urgent most analyses are complete within one hour of receipt. Samples should be transmitted to the lab via the pneumatic tube system where available.

Severely abnormal results will be phoned to both GPs and wards.

Hospital wards will access normal urgent results on the clinical portal.

A ‘core’ of tests is available out of hours and urgently (see later).

Unusual tests may be available after discussion with the Duty Biochemist.

Please contact the lab to notify them you are sending an urgent sample and mark the form “URGENT”. Contacting the laboratory is an essential step – merely selecting the “Urgent” box in Trakcare will not cause your sample to be handled urgently.

During working hours phone the enquiries number.

Out of hours please page the laboratory BMS via switchboard.

Urgent Requests and Result Turnaround Times – Primary Care

Routine samples for primary care are analysed with a usual turnaround time of a day.

If you require urgent analysis of a sample please contact the laboratory reception prior to sending the sample to the lab. Please limit requests to those that are truly urgent since these create a significant amount of extra work for the laboratory. We are unable to guarantee rapid turnaround of samples where “urgent” is merely written on the request form.

Pneumatic Tube

There are pneumatic tubes at IRH and RAH.

At IRH blue pods should be used for laboratory samples (destination 90)

The RAH system also uses Blue pods for laboratory samples (destination 111)

CSF, faeces and “Precious” samples MUST NOT be sent down the tubes as they may be lost.

In case of breakdown or spillage please contact

Estates at IRH				ext 05110

Estates manager at RAH		page 56010

Please contact the porters to uplift “URGENT” urgent samples or CSF and “Precious” samples that are not sent by Tube.

Sample Storage Prior to Transport to Laboratory

When storing uncentrifuged samples prior to uplift for transport to laboratory please avoid storing samples in extremes of temperature. Uncentrifuged samples for Biochemistry MUST NOT be refrigerated. For guidance, the most appropriate temperature would be an appropriate temperature for comfortable working in an office.

Sample Storage Prior to Transport to Laboratory – Centrifuged samples

To avoid blood specimens being rejected, specimens should be left for 30 minutes to settle before centrifuging then stored at room temperature prior to pick up. Do not store blood samples in the fridge.

Tests routinely available out of hours:

U&E, LFT, GGT, glucose, calcium, magnesium, amylase, CRP, uric acid,

Paracetamol, salicylate, lithium, digoxin, alcohol, Carbamazepine, Phenytoin

Gentamicin, Vancomycin, Tobramycin, HCG, ammonia, total protein, lipids, iron.

Osmolality (serum and urine)

High Sensitivity Troponin, CK, LDH

Direct Bilirubin (neonates)

CSF Protein and glucose

Other tests often require considerable additional staff time to set up and perform (and there is only one member of staff in the lab) and availability must be discussed with the on-call biochemist.

Point of Care Testing (POCT)

Clyde Biochemistry operates and maintains a POCT service that includes Blood Gas analysers and Blood Glucose meters.

For general guidance on POCT please consult the GG&C POCT Policy.

Please email routine enquiries regarding these analysers or meters and barcodes for using them to: Clyde.BiochemistryPOCT@ggc.scot.nhs.uk

Blood Gas Analysers

Please be aware that Training and Password Access is required to use these analysers

Doctors starting at RAH and IRH will receive induction training in the use of these analysers.  Any staff that have not been given but require training should contact the laboratory.

The GEM 5000 Blood gas analysers are located at a limited number of locations on the RAH and IRH wards. Only pre-heparinised blood gas syringes or pulsators (arterial sampling systems) should be used with the analysers. When using syringes the syringe should be filled completely.

Ward staff are expected to provide routine maintenance to these analysers out of hours (i.e. change cartridges). There are no staff available in the lab to do this as they cannot leave the Lab so please do not ask them to do so.

Required volumes for Blood Gas analysis on GEM 5000

150 µL		Gases, electrolytes, glucose/lactate and co-oximetry

65 µL		Gases, electrolytes, glucose/lactate

Not all analysers provide the above repertoire.  Lactate is not available in the laboratory.

i-STAT Analysers

The Abbott i-STAT Systems are situated on MAU ward at the VOL Hospital and are for use during the out-of-hours period, between 20:30 and 08:30 Monday to Friday and at the weekend.  The Abbott i-STAT provides rapid measurement of chemistries/electrolytes, and blood gases using diagnostic cartridges.

Arterial or venous blood must be collected into either pre-heparinised syringes or lithium heparin samples for analysis.

Training is provided by key operators in MAU and POCT Ltd training support.

Required Volumes for i-STAT

95 L for Blood gases and lactate (CG4 cartridge)

95 L for U&Es, glucose, ionised calcium (CHEM8 cartridge)

Blood Glucose meters

Abbott FreeStyle Precision Pro meters are in place in a wide number of clinical areas within Clyde Hospitals.  Only trained staff can operate these

Training is provided through Link Nurses and Abbott training support.

The IT Helpdesk should be contacted initially if there are problems docking your meter but for any issues regarding instruments, quality control or training/barcodes etc. please contact the laboratory.

Specimens and containers

Blood samples The Greiner ‘Vacuette’ system is in use throughout Clyde.

Please make sure to fill the plain biochemistry tube first to avoid sample contamination with either fluoride, citrate or EDTA containing tubes.

Trakcare orders will have sample stickers for the appropriate container type.

Lists of container requirements are widely available (glucose requires the grey topped fluoride tube and trace metals the green heparin tube. HbA1c requires a separate lavender tube). If in doubt for specialist tests please contact the lab before you take the sample. When ordering tests electronically via Trakcare and ICE the printed labels will indicate what bottles are required.

Sampling from Venflons is not a good idea. Samples are very frequently haemolysed requiring repeat sampling and lengthy delays for patient results.

Urine samples: Urine analysis (random samples) requires the plain white topped container firmly closed in a separate sample bag. It is best to bag the urine within the specimen bag in case of breakage/leakage in transit. For 24 hour urine collections bottles are available from laboratory reception on request. Please note 24 hour urine bottles are for samples requiring laboratory analysis.

Faecal samples: Faecal samples should be sent in either blue or white topped containers. The silver topped microbiology tubes are not accepted and will be discarded.

Please be aware that a separate container is required for each test requested.

CSF – please send a separate grey fluoride tube for glucose and protein. Bloodstained samples are not suitable for protein analysis. These precious samples should not be sent in the pneumatic tubes in case they are lost in the event of a tube failure.

Samples for Xanthochromia should be sent to the local Biochemistry laboratory immediately after withdrawal (within no more than half an hour) as CSF sitting on red cells will cause artefactual haemolysis to be seen in the scan. Samples received after this time with blood cells present cannot be analysed for xanthochromia. They should be protected from light (eg place sample within a brown envelope).

Please write the time of sampling on the universal and request form if not using Trakcare.

Analysis of the sample for xanthochromia is only helpful as long as the sample is taken more than 12 hours after the presumed onset of symptoms.

Fluids – Other than CSF and urine, we request that all fluid samples (pleural fluids, ascitic fluids, any other fluids) are sent in Vacuette tubes. For glucose samples this should be a grey topped tube, for other assays a white topped Vacuette tube. Samples received in universal containers will not be processed.

Specific Analytes

See the list of reference ranges below for sample requirements.

Guidance is also given for the volumes required for common paediatric tests.

Please contact the laboratory if you cannot find a test you require in the reference range list below or in the sendaway list on the laboratory web site or on Trakcare.

Supplies

Please be aware that the laboratory does not supply tubes, request forms or postal containers, unless by special arrangement. These must be obtained through your normal supply routes.

Specimen collection

IRH – during the week there at least three ward collections across the day. There are two daily collections from the Larkfield unit.

RAH – there are three ward collections across the day. Weekend collections are completed mid morning.

VOL – there are three ward collections across the day during the week. At the weekend there is one Saturday mid morning collection for microbiology samples.

CLINICAL INFORMATION

Use of eGFR

The use of eGFR (estimated Glomerular Filtration Rate) allows the identification of minor degrees of renal impairment that may go unnoticed by the use of the serum creatinine alone. It is used in the detection and monitoring of ‘stable’ patients with suspected or established Chronic Kidney Disease (CKD).

The eGFR is not valid under the age of 18 years and in acutely ill patients. eGFR should be multiplied by 1.2 for African-Caribbean patients.

An eGFR >60ml/min/1.73m2 does not exclude CKD stages 1 and 2. Patients with an eGFR between 30 and 59 mL/min/1.73m2 on two separate samples about 90 days apart are classified as CKD stage 3.

Persistent proteinuria (protein:creatinine ratio (PCR) greater than 100 mg/protein/mmol creatinine) is the best indicator of risk to end stage renal disease in patients with early CKD (stages 1-3).

All persons with suspected CKD should have a urine dipstick test for protein and the result quantified by a protein / creatinine ratio where positive unless infection is present. Urinary albumin estimations should be used in diabetic patients.

Further information may be found at:

http://www.renal.org/information-resources/the-uk-eckd-guide

The 5 stages of Chronic Kidney Disease (CKD)

| EGFR |  | STAGE |
| --- | --- | --- |
| >90ml/min | with another abnormality* - otherwise regarded as normal | = stage 1 CKD |
| 60-89ml/min | with another abnormality* - otherwise regarded as normal | = stage 2 CKD |
| 30-59ml/min | (moderate impairment) | = stage 3 CKD |
| 15-29ml/min | (severe impairment) | = stage 4 CKD |
| <15ml/min | (established renal failure) | = stage 5 CKD |

*i.e. already known to have proteinuria, haematuria (but no urological cause) or (in diabetes) microalbuminuria.

Electrolyte Disorders

Please see the NHSGGC Therapeutics Handbook , as guidance discussing pharmacological treatment options cannot be provided outside of documents under Pharmacy review.

Investigation of Hypophosphataemia

Lipids and Cardiovascular Risk

The lab routinely measures Cholesterol and triglyceride on samples. When you require HDL for risk assessment you need to request a “Lipid Profile”.

Cholesterol Measurement

All adults aged over 40 years should have a cardiovascular risk assessment at least once every 5 years.

High risk primary prevention patients should be checked annually.

Low risk patients should be checked every five years.

Primary prevention risk should be estimated using one of the standard risk calculators available:

www.assign-score.com

www.jbs3risk.com

www.qintervention.org/index.php

Most current guidelines suggest that fasting lipid profiles are only required if hypertriglyceridaemia is present and the fasting level may change the patient’s management.

Secondary Hyperlipidaemias

Look for dietary, drug and alcohol history and history of increasing weight or poorly controlled diabetes.

Urine dipstick for protein, urea and electrolytes and liver function tests, blood glucose and thyroid function.

Patients on Lipid Lowering Therapy

Lipid levels should not be checked until at least six weeks after starting treatment. Measurements should be continued every 8 weeks until the patient reaches their target value. After reaching target concentration, lipids should be checked annually, unless there is a clinical indication to do so sooner.

Liver function should also be checked prior to commencing statin therapy and 1-2 months after starting therapy or any dose increase. If LFTs are stable, measurement at one year should be adequate, unless there is a clinical indication to do so sooner.

If AST and ALT rise in a patient taking a statin:

- If less than 3 times the upper limit of normal, continue therapy but repeat LFTs in 4-6 weeks to exclude further rises. No further monitoring is required if LFTs are stable.

- If more than 3 times the upper limit of normal, consider reducing the dose or stopping statin therapy.

Hypertriglyceridaemia

Hypertriglyceridaemia is associated with increased risk of pancreatitis, particularly when tirglycerides are > 10 mmol/L. It is often secondary to other pathologies, lifestyle factors or medications.

The following guidance is suggested if considering referral to the lipid clinic with hypertriglyceridaemia:

| Triglyceride Level | Management |
| --- | --- |
| Above 2.5 and < 10mmol/L | Manage as per Primary and Secondary CVD prevention guidelines. Address secondary causes Consider statin therapy at lower risk threshold |
| 10-20 mmol/L | Repeat with fasting level within 2 weeks Review for secondary causes and manage accordingly Refer if triglyceride value persists >10 mmol/L |
| >20 mmol/L | If no obvious secondary cause e.g. alcohol excess, poorly controlled diabetes refer to local lipid clinic. |

Secondary Causes of Hypertriglyceridaemia

Diabetes Mellitus Alcohol Renal Disease (Nephrotic) Hypothyroidism Obesity Medications (steroids, retinoids, psychotropics, beta blockers, anti-retrovirals, thiazides, tamoxifen) Liver Disease

Please bear in mind that the effect of statin therapy on hypertriglyceridaemia is mild (no more than a one third reduction typically seen), and that hypertriglyceridaemia is not an indication for high intensity statin therapy (in the absence of another valid indication for high intensity statin therapy).

Diagnosis of Diabetes Based on Venous Plasma Glucose

NHSGGC has issued recommendations on the diagnosis of diabetes to include the use of HbA1c. The guideline is available here:

http://www.staffnet.ggc.scot.nhs.uk/Info%20Centre/PoliciesProcedures/GGCClinicalGuidelines/GGC%20Clinical%20Guidelines%20Electronic%20Resource%20Direct/Diabetes%20Mellitus,%20Diagnosis.pdf

The key principles of the guidelines are:

New type 1 diabetes is a medical emergency and should be diagnosed by clinical features and a random blood glucose > 11mmol/L, and same day referral to an appropriate specialist. HbA1c, fasting glucose and OGTT are not appropriate tests to use in suspected type 1 diabetes mellitus.

For the diagnosis of type 2 diabetes the first line test should be a fasting glucose. A fasting glucose of ≥ 7 mmol/L with osmotic symtoms is diagnostic of diabetes.

A fasting glucose of 6.1-7mmol/L or ≥ 7mmol/L without osmotic symptoms should be followed up by an HbA1c level, with a result ≥48 mmol/mol consistent with diabetes and 42-47 mmol/mol “prediabetes”.

OGTT use, as recommended by these guidelines, is largely now restricted to diagnosis and follow-up of patients suspected of having gestational diabetes mellitus.

Thresholds for results consistent with diabetes in non-pregnant adults:

Random venous plasma glucose 		≥ 11.1 mmol/l

Fasting venous plasma glucose 		≥ 7.0 mmol/l

Venous plasma glucose 	≥ 11.1 mmol/l at 2 hours after an oral glucose tolerance test (OGTT).

An HbA1c ≥ 48 mmol/mol is diagnostic of diabetes.

An HbA1c < 48 mmol/mol does not exclude the diagnosis of diabetes.

Some of the factors below may influence and confound the HbA1c result. In these and other cases where there is doubt the glucose criteria must be used for the diagnosis of diabetes.

Erythropoiesis

Increased HbA1c: iron or Vit B12 deficiency, decreased erythropoiesis

Decreased HbA1c: administration of iron, vitamin B12, erythropoietin, reticulocytosis, chronic liver disease

Altered Haemoglobins

Genetic or chemical alterations in haemoglobin: haemoglobinopathies, HbF, methaemoglobin can increase or decrease HbA1c glycation

Increased HbA1c: alcohol dependence, chronic renal failure

Decreased HbA1c: aspirin, Vit C and E

Erythrocyte destruction

Increased HbA1c: splenectomy

Decreased HbA1c: splenomegaly, antiretrovirals, rheumatoid arthritis, haemoglobinopathies

These lists are not exhaustive. Glucose remains the more reliable (and

cheaper) criteria.

Gestational Diabetes

For detailed information please see the current SIGN diabetes guidelines www.sign.ac.uk/guidelines/fulltext/116/index.html  full guideline page 63.

In early pregnancy a random glucose at least two hours after food of > 5.5 mmol/l or > 7.0 mmol/l within two hours of food are suspicious.

If the diagnosis is in doubt in early pregnancy with intermediate levels of blood glucose, or if a high risk patient in late pregnancy, an OGTT is recommended to assist in making the diagnosis.

75g Oral Glucose Tolerance Test

Note that Lucozade Energy Original Drink is being reformulated as of April 2017 and should no longer be used for performing OGTT. OGTT is now rarely indicated outside of pregnancy.

The patient should fast overnight.

A basal sample should be taken and then the patient should drink a solution of 75 g anhydrous glucose in 250 – 350 ml fluid. A premade solution named “Rapilose OGTT” is available. A further sample should be taken at 2 hours. Both samples in the fluoride tubes should be sent to the laboratory together please.

Microalbumin

All diabetic patients should be screened annually for microalbuminuria. Early morning urine samples should be used and two out of three samples are required to be positive.

Thyroid function tests

Please indicate on your request what, if any thyroid medication a patient is on. This is needed to interpret the results and also to add Total T3 and thyroid antibodies as appropriate.

Screening for thyroid disease. – is not recommended in the healthy adult population.

Acutely ill patients – abnormalities of thyroid function occur and testing should be avoided unless there are specific indications to do so.

Changes in thyroid medication – wait at least six weeks to re-measure thyroid function.

Indications for thyroid function testing include patients presenting with:

- Signs/symptoms associated with thyroid dysfunction

- A suspected goitre

- Atrial fibrillation, dyslipidaemia, osteoporosis or sub-fertility.

Frontline TSH and Free T4 are measured by the lab. Total T3 is added on by the lab where appropriate.

Thyroid peroxidase antibodies may be checked by the lab where a pattern of sub clinical hypothyroidism is suspected, if the patient is not on thyroxine.

Follow up of patients should be generally not more frequently than annually (pregnancy see below).

Autoimmune thyroid disease may take many years to develop. The frequency of follow up in patients with a pattern of subclinical hypothyroidism should be annual if the anti-TPO antibodies are positive, or 2-3 years if negative.

There is no merit in repeated testing of individuals with completely normal TFT results. Causes other than thyroid dysfunction should be sought to explain the symptoms.

.

Pregnancy and thyroxine - demand for thyroxine increases with pregnancy and TFT should be more closely monitored to adjust treatment.

The 2006 British Thyroid Association (and others) guideline is recommended if further guidance on testing thyroid function and interpreting results is required:

http://btf-thyroid.org/images/documents/tft_guideline_final_version_july_2006.pdf

Investigating the Menopause

The menopausal transition can most often be determined on clinical grounds alone and measurement of hormones is not appropriate. In November 2015 NICE published guidelines on menopause diagnosis and management. The current guidance is that for women aged >45 Follicle Stimulating Hormone (FSH) is not required to diagnose the peri-menopause or menopause. The diagnosis should be based on age and symptoms.

| Age | Symptoms | Biochemical Assesment |
| --- | --- | --- |
| >45 ?peri-menopause | Irregular periods/vasomotor symptoms | Not required |
| >45 ?menopause | No period for 12 months | Not required |
| >45 ?menopause, no uterus | Vasomotor symptoms | Not required |
| 40-45 ?peri-menopause/menopause | Irregular periods/vasomotor symptoms | FSH and LH may be of value |
| <40 ?peri-menopause/menopause |  | See below |

An audit of FSH requesting in Clyde from March 2017 until February 2018 has shown that 47% of our female FSH requests are in women >45 years of age. In addition a majority of these FSH requests are accompanied by LH and oestradiol requesting. There is potentially scope to therefore reduce unnecessary testing and streamline the diagnostic pathway for these patients by adopting the NICE guidelines. For further information the guidance can be viewed at:

www.nice.org.uk/guidance/ng23/chapter/recommendations#diagnosis-of-perimenopause-and-menopause

Hormone measurements are of no value in assessing the response to HRT. Synthetic oestrogens or progestogens cannot be detected by current assays and suppression of gonadotrophins is variable.

Hormone measurements are of little assistance in determining when a patient remains at risk of becoming pregnant. It should be assumed a patient remains at risk of pregnancy for up to 2 years after the last menstrual period.

Menstrual Irregularity / Amenorrhoea under 40 years

- Rule out pregnancy.

- General illness, anorexia and excessive weight loss should be considered.

- First line investigations include LH/FSH/Prolactin and TFTs.

- An androgen screen may be appropriate if PCOS is clinically indicated.

- Please give details of LMP, symptoms, suspected diagnosis and any hormone treatment to assist with interpretation of results.

- Please give relevant drug history if Prolactin is requested – phenothiazines and hormonal contraception being the most relevant medications.

When possible collect samples first line investigations during the follicular phase (days 1-7 of cycle / during menstruation). Avoid sampling during the mid-cycle gonadotrophin surge (days 13-17 of cycle).

Premature ovarian insufficiency

Premature ovarian insufficiency should be suspected in a woman younger than 40 years, providing she is not taking hormonal contraception if there are:

- Menopausal symptoms, including no or infrequent periods (taking into account whether she has a utertus) and

- Elevated serum FSH levels (more than 30 U/L) on two blood samples taken 4-6 weeks apart.

Stopping the progesterone-only pill

If a woman aged over 50 years with amenorrhoea wishes to stop contraception before the age of 55 years:

- Check serum follicle-stimulating hormone (FSH) levels on two occasions, with an interval of 6 weeks between tests.

- If both FSH levels are more than 30 U/L, the progestogen-only pill (POP) can be discontinued after a further year.

- If the FSH level is in the premenopausal range, continue the POP and recheck the FSH level after 1 year.

Once a woman reaches 55 years of age, contraception can be stopped even if there is still menstrual bleeding.

Reference Intervals

| Analyte | Phase of cycle | Reference interval |
| --- | --- | --- |
| FSH | Follicular Mid-cycle Luteal | 3-8 U/L 2-16 U/L 1-5 U/L |
| LH | Follicular Mid-cycle Luteal | 2-13 U/L 34-115 U/L 1-16 U/L |
| Prolactin |  | <630 mU/L |

Ovulation

Progesterone should only be measured to determine if ovulation has occurred.  Samples for progesterone measurement should be collected on day 21 of a 28 day cycle (or 7 days before next period is due, if cycle length is different).  A progesterone concentration of >20nmol/L is consistent with ovulation. Gonadotrophins should not be measured on day 21.

Macroprolactin

Macroprolactin is the presence of an abnormally large protein complex. The laboratory will check for this if as a cause of any persistently raised prolactin. If the patient is found to have a macroprolactin this will be highlighted to you by the lab. It is not biologically active and requires no further investigation.

Tumour markers

The use of most tumour markers is not recommended in a Primary Care setting due to the lack of their specificity for malignancy and reference ranges are generally not well defined. For most serum tumour markers a concentration within the reference range does not exclude malignancy and an elevated concentration does not confirm it. Markers such as CEA and CA19-9 should only be requested where recommended by an oncologist for monitoring purposes.

In secondary care it is generally unhelpful to measure tumour markers as a screening test. Their role is in monitoring established malignancy. Guidance for their use by non-specialists was available in this BMJ article.

Prostate Specific Antigen (PSA)

Screening in asymptomatic men is not recommended but should be available, with counselling, on patient request.

Scottish Referral guidelines for suspected cancer recommend measuring PSA in men who present with unexplained possible signs and symptoms of prostate cancer such as:

- Changes to urinary patterns

- Erectile dysfunction

- Unexplained haematuria

- Lower back pain

- Bone pain

- Weight Loss

This should be done in conjunction with a digital rectal examination.

PSA should not be measured in any of the following situations:

- In a patient with a known UTI or who has been catheterised or has had another invasive procedure such as a prostate biopsy (PSA may stay elevated for 6 weeks)

- In a patient known to have recently ejaculated (PSA may be raised within 3 days of ejaculation)

- In a female patient (with the exception of transgender patients)

An isolated increase in an asymptomatic patient should be confirmed before further tests are considered. Patients with borderline PSA concentrations should have the measurement repeated in 6-12 weeks; if the concentration is rising, the patient should be referred urgently.

Age-related reference ranges are used in the interpretation of PSA results:

50 – 59 years		<3μg/L

60 – 69 years		<4μg/L

70+ years		<5μg/L

A PSA concentration within the reference range does not exclude malignancy; a raised concentration may be due to a benign cause, such as benign prostatic hyperplasia.

CA 125

CA 125 measurement is part of the ovarian cancer diagnostic pathway. It is usually diagnosed late with approximately 30% of cases having a palpable pelvic mass at presentation.  Symptoms are often non-specific abdominal symptoms but are characterised by their persistency and frequency.

Scottish Referral guidelines for suspected cancer recommend investigating patients who present with symptoms suspicious for ovarian cancer in:

- Women >50yrs with new symptoms of irritable bowel syndrome (IBS)

- Women >18 yrs with recurrent/persistent symptoms

  - Bloating or abdominal distension

  - Loss of appetite

  - Feeling full quickly (early satiety) and /or loss of appetite

  - Pelvic/abdominal pain

  - Increased urinary frequency/urgency

  - Change in bowel habit

First-line investigations include

- Abdominal palpation

- Urgent Pelvic ultrasound scan AND serum CA 125 (Do not measure during menstruation or pregnancy)

CA 125 may also be requested in the context of follow up/monitoring of patients with previously raised CA 125 or monitoring of patients with known ovarian cancer (typically requested via secondary care).

Therapeutic Drug Measurement

Samples should generally be taken at steady-state (see table on next page) but earlier analysis may be indicated in the following circumstances:

- Suspected overdose or toxicity

- Poor clinical response despite high dose

- Unstable clinical condition (particularly changing renal function)

- Potential/ suspected drug interactions

Drug analysis is not recommended in the following circumstances:

- Routine analysis of anticonvulsants and digoxin, especially when clinical control is satisfactory

- Valproic acid therapy (poor correlation between serum concentration and clinical effect)

- Digoxin within 6 hours of oral dose

Lithium

For patients on lithium therapy, lithium concentrations should be checked every 3 months, and thyroid function tests, calcium and renal function should be assessed annually.

Phenytoin

There is a non-linear rise in serum concentration with increasing dose.  Toxicity may develop with small dose adjustments or the introduction of interacting drugs.

Free (active) phenytoin concentrations can increase from normal when serum albumin concentration falls and when phenytoin is displaced from albumin with co-administered drugs.  Care should be taken in interpreting results when albumin concentration is less than 32g/L. Care in interpretation should also be taken when renal failure is present.

Digoxin

Results from samples taken within 6 hours of an oral dose are unreliable.

Hypokalaemia, hypomagnesaemia and hypercalcaemia potentiate digoxin toxicity.

Unexpected results in hepatic and renal failure should be interpreted with caution; contact Reporting Biochemist for interpretation.

Target Ranges for Therapeutic Drugs

| Drug | Time to steady state | Ideal sample time | Target range |
| --- | --- | --- | --- |
| Carbamazepine | 2-3 weeks (new therapy) 2-4 days (dose change) | Predose (not critical) | 4.0 – 12.0 mg/L |
| Phenytoin | 2-3 weeks | Predose (not critical) | Adults: 5.0 – 20.0 mg/L |
| Theophylline | 2-3 days | Predose (not critical) | Adults: 10.0 – 20.0 mg/L (5.0 – 10.0 mg/L adequate in some circumstances) |
| Digoxin | 7-10 days | 6-24 hours after dose | 0.5 – 2.0 μg/L |
| Lithium | 5 days | 12 hours after dose | 0.6 – 1.0 mmol/L (0.4 – 0.8 mmol/L for prophylaxis and older patients) |

NT Pro BNP Measurement

The NT Pro BNP assay is available to support primary care heart failure pathways. Appropriate cut-offs to aid decision making within this pathways are provided for patients within the pathway. Reference ranges and interpretive guidance are not available for patients out with these pathways. The test should only be used outside the pathways when advised by a cardiologist. The previous BNP assay is no longer available.

The pathway is available here:

heart-mcn-investigation-and-management-of-heart-failure.pdf (scot.nhs.uk)

Electrolyte Abnormalities

GGC Guidance on the assessment and management of electrolyte abnormalities in adults is available via the Therapeutics Handbook:

http://handbook.ggcmedicines.org.uk/guidelines/electrolyte-disturbances/

Suspected Myeloma

Not all paraproteins are malignant. The presence of a paraprotein is only one element of a diagnosis of myeloma. The initial screening tests for detecting paraproteins is serum protein electrophoresis (ochre tube) and urine electrophoresis, to look for Bence Jones Proteins (free light chains), on an early morning urine sample (plain urine tube). In addition, immunoglobulins will be measured by the laboratory to look for immune paresis or a polyclonal increase of all immunoglobulin classes.

Monoclonal Gammopathy of Unknown Significance (MGUS)

Asymptomatic paraproteinaemia i.e. MGUS, is a relatively common incidental finding in the elderly or those with any chronic inflammatory condition. A very small proportion of patients with MGUS may progress to a clinically significant myeloma, therefore follow up should be considered. Typically this should consist of 3-4 monthly repeat serum protein electrophoresis for 2 years, then annually if serum paraprotein concentration is stable or the patient is asymptomatic. Where serum free light chain levels have been assessed and indicate lower risk of progression, less frequent monitoring may be appropriate. However, if the patient develops symptoms or signs of myeloma or lymphoma at any point, re-assessment is advised.

Further information and guidance is available at:

http://www.b-s-h.org.uk/guidelines/guidelines/investigation-of-newly-detected-m-proteins-and-the-management-of-mgus/

Turnaround time for serum and urine electrophoresis may be up to two or three weeks, respectively if a paraprotein is detected. Please do not send repeat specimens without checking with laboratory as previous specimens may still be in process.

qFIT

qFIT testing is now available as part of the colorectal patient pathway. Further guidance from GRI, who perform the test is now available here:

https://www.nhsggc.org.uk/about-us/professional-support-sites/laboratory-medicine/laboratory-disciplines/biochemistry/faecal-haemoglobin-qfit/

Urine Metadrenalines and 5HIAA

The previous Urine Catecholamine profile from Crosshouse was replaced for adults with separate Medadrenaline and 5HIAA assays provided by Glasgow Royal Infirmary.

Both require 24 hour collections. Urine Metadrenalines require a plain urine bottle as previously. 5HIAA now requires an acidified bottle – please contact the lab to arrange supply of this bottle.

The indications for urine metadrenaline and 5HIAA analysis are different, and it is rare that patients would require both being measured. The following table is intended to serve as a reminder of which test is desired:

| Test | What is the analyte? | Used to test for | Typical symptoms |
| --- | --- | --- | --- |
| Urine metadrenalines | Metabolites of adrenaline, noradrenaline and dopamine | Phaeochromocytoma Paraganglioma | Hypertension, sweating, tremor, palpitations, headaches |
| Urine 5-HIAA | Serotonin metabolite | Carcinoid | Flushing, diarrhoea, cramping, wheeze |

With regards to metadrenalines it is no longer required to avoid paracetamol. Sotalol, labetalol and tricyclic antidepressants may affect results and should be avoided for at least 1 week prior to collection is safe and feasible.

Some foods 5HIAA collections. The following foods should be avoided for three days before collecting a urine catecholamine sample and during the collection:

Walnuts, bananas, tomatoes, avocado, kiwi fruit,  pineapple, plantain, plums, pecan nuts.

Medications can affect catecholamine results. Paracetamol should be avoided for 72 hours before the collection and during the collection. Other medications which can affect the result are listed below. If it were safe to withhold them this would ideally be done for 2 weeks prior to the test, but it is acknowledged this will rarely be possible.

Historically three collections were often requested as some of the metabolites produced by phaeochromocytoma were secreted sporadically. However as metadrenalines are produced continuously by these this will not be required.

Samples should be delivered to the practice at 0900 on the day collection finishes, or left into the Biochemistry labs at IRH, RAH or VoL prior to 10am Monday – Friday on the day the collection finishes. Collections should therefore be started prior to 0800.

Paediatric Hypogylcaemia Tests

The protocol for metabolic tests for paediatric hypoglycaemia should be available with “grab bags” of sample tubes in the RAH and IRH A&E departments, where acutely hypoglycaemic children may present. The protocol is provided below for reference:

| Paediatric Hypoglycaemia “GRAB BAG” (For all patients requiring a ‘Hypo screen’ for hypoglycaemia in RAH/IRH) |  |  |
| --- | --- | --- |
| ‘Paeds Hypoglycaemia - time critical samples’ (Samples required PRIOR to administration of glucose) |  |  |
| Test | Tube type | Volume required |
| Glucose | Fluoride oxalate (Grey) | 500 microlitres (half full) |
| Free fatty acids | Fluoride oxalate (Grey) | 500 microlitres (half full) |
| Insulin C-peptide | Lithium Heparin (Green) | 1ml ideally |
| Beta OH butyrate | Lithium Heparin (Green) | 500 microlitres (half full) |
| Cortisol | Lithium Heparin (Green) | 500 microlitres (half full) |
| Lactate (Capillary blood gas) | Capillary blood gas tube (Gas analyser on ward) | Aim for 1 full capillary tube. |
| ***SAMPLES MUST BE IN LAB WITHIN 15 MINUTES OF COLLECTION*** CONTACT LAB TO INFORM THEM OF URGENT HYPOGLYCAEMIA SAMPLES |  |  |
| ‘Paeds Hypoglycaemia - additional essential’ (Sample can be taken AFTER administration of glucose) |  |  |
| Test | Tube type | Volume required |
| *Ammonia U&Es LFTs CRP | Lithium Heparin (Green) * labile sample, must arrive in lab within 15 mins, phone lab to inform | 1ml (1 bottle) |
| Acylcarnitine | Blood spot - Guthrie card | Send to lab |
| FBC | EDTA (small Purple screw top) | 500 microlitres (up to mark on bottle) |
| Blood culture | Age and volume dependant |  |
| URINARY organic acids | URINE in WHITE top universal container | 5mls |
| See over page for guidance on ordering all above samples on TRAKCARE |  |  |

How to order on TRAKCARE *Do NOT use Hypoglycaemia Screen on TRAKCARE*

‘Paeds Hypoglycaemia - time critical samples’ (Samples required PRIOR to administration of glucose)

to order the ‘time critical samples’ then follow these steps: - Ensure patient highlighted on screen then click on “new request” tab. - Select appropriate test in pop-up screen for: glucose - On the right side of screen type the requested test in section titled “item” then hit the magnifying glass [Q] (to the right of the box) **Always select the ‘- child’ option for the test requested (when available)** Hints: - For insulin type ‘ins’ then hit [Q] – pop-up click on ‘update’ - For C – peptide ensure there is a space either side of the ‘-‘ before hitting [Q] - For FFAs type ‘free’ then hit [Q] - For Beta OH butyrate type ‘beta’ then hit [Q] - For cortisol type ‘cor’ then hit [Q] - Remember lactate is taken on a capillary gas tube and processed on the ward.

‘Paeds Hypoglycaemia - additional essential’ (Sample can be taken AFTER administration of glucose)

to order the ‘additional essential’ samples then follow the same process as above. **Always select the ‘- child’ option for the test requested (when available)** Hints: - For ammonia type ‘ammon’ then hit [Q] - For Acylcarnitine ensure you select the option with ‘BS’ at the end. - For urinary organic acids type ‘organic’ then hit [Q]

ONLY STICK ONE ‘TRAKCARE’ LABEL TO THE CORRESPONDING TUBE. THE REMAINING LABELS SHOULD REMAIN ON THE REQUEST FORM AND ACCOMPANY THE SAMPLES TO THE LAB

REFERENCE RANGES

Ranges are shown for adult, paediatric, pregnancy, paediatric sample size requirements and reproductive hormones.

Reference ranges listed below are for guidance only. An appropriate reference range, where available, will be provided with your result and is the range which should be used in interpreting your result. Any changes to reference ranges will be highlighted as a comment next to results.

Sample requirements are provided below for guidance. When ordered electronically via Trakcare or ICE information on the appropriate sample type will be given on the labels provided.

It is particularly difficult to derive reference ranges for neonates, children and in pregnancy.

Uncertainty of measurement, in crude terms, relates the result the laboratory provides to the range of values that result could represent. Information regarding uncertainty of measurement of specific analytes can be provided to users of the laboratory on request – please contact the duty Biochemist to discuss.

Less frequently requested tests may be sent to other laboratories for analysis both within Glasgow and across the UK.

If you cannot find a test you are looking for in this table please refer to the web site or contact the reporting biochemist by phoning the lab.

| Results are issued with reference ranges. Please contact the laboratory if in difficulty and we will endeavour to help. Reference ranges listed below are for guidance only. There may be very significant differences between ages, genders and different populations etc. MOST DRUG LEVELS ARE GENERALLY MEASURED AS TROUGH LEVELS. FOR MOST THIS IS EASIEST JUST BEFORE THE NEXT DOSE. DIGOXIN MUST BE AT LEAST 6 HOURS POST DOSE.– see timing required below. |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Test | Sp | Container | Vol (ml) | Reference range (adult) | Result Time | Comments |
| ACE | B | Ochre | 2 | <88 u/L | 2 weeks |  |
| ACTH | B | Lavender | 2 | < 20 mU/L (7-9 am) unstressed | 2 weeks | Must reach lab rapidly for separation and freezing unstable |
| ALT | B | Ochre | 2 | <50 IU/L | 1 day |  |
| Albumin | B | Ochre | 2 | 35-50 g/L | 1 day |  |
| Albumin/creat ratio | U | White universal | 10 | M <2.5 F <3.5 | 1 day | Early morning urine required |
| Aldosterone | B | Ochre | 2 | See report, >300 pmol/L may need investigating | 1 week | Measure with renin for ratio aldo/renin ratio >35 may need investigation |
| Alkaline phosphatase | B | Ochre | 2 | 30 – 130 IU/L | 1 day |  |
| Aluminum | B | Green | 2 | <0.2 μmol/L | 2 weeks |  |
| AFP | B | Ochre | 2 | <7 kU/L | 1 week |  |
| Alpha – 1 - antitrypsin | B | Ochre | 2 | 1.1 – 2.1 g/L | 1 week |  |
| Ammonia | B | Green | 2 | W 4 <100 μmol/L >4 weeks 20 – 50 | 1 day | Must reach lab promptly - unstable |
| Amphetamines | U | White universal | 10 | Qualitative | 1 week |  |
| Amylase | B | Ochre | 2 | <100 IU/L | 1 day |  |
| Amylase (urine) | U | White universal | 2 | <600 U/L (amylase/creat clearance 1-5%) | 1 day | Clearance ratio for detecting macroamylasaemia. |
| Antimullerian hormone | B | Ochre | 2 | No reference range provided | 1 week | Consultant gyn request only |
| Androstenedione | B | Ochre | 2 | 18-40y <5.5 nmol/L >41 y F <3 nmol/L M <5.5 nmol/L | 2 weeks | Part of Androgen Profile |
| Anti Streptolysin O titre | B | Ochre | 2 | <200 IU/L | 1 week | Contact Microbiology for Clinical Advice on ASO |
| Anti thyroid peroxidase antibody | B | Ochre | 2 | <6 IU/mL | 1 week |  |
| AST | B | Ochre | 2 | <40 IU/L | 1 day |  |
| Bence Jones Protein | U | White universal | 20 |  | 2 weeks | Early morning urine best as more concentrated |
| Benzodiazepines | U | White universal | 10 | Qualitative | 1 week |  |
| Beta-2 Microglobulin | B | Ochre | 2 | 1-2.6 mg/L | 7 days |  |
| Bicarbonate | B | Ochre | 2 | 22 – 29 mmol/L | 1 day | Unstable on storage |
| Bile acids | B | Ochre | 2 | <17 μmol/L | 1 week | For cholestasis of pregnancy – dw lab for other indications |
| Test | Sp | Container | Vol (ml) | Reference range (adult) | Result Time | Comments |
| Bilirubin | B | Ochre | 2 | <20 μmol/L | 1 day |  |
| Blood gases (arterial) | B |  |  | H+ 36-44 nmol/L pCO2 4.6-6.0 kPa pO2 10.5-14 kPa | POC |  |
| Blood gases (venous) | B |  |  | H+ 42-48 nmol/L pCO2 5.6-6.7 kPa | POC |  |
| Ca 125 | B | Ochre | 2 | Female <35 kU/L | 1 week | See NICE CG122 |
| Ca 15.3 | B | Ochre | 2 | <32 U/L | 2 weeks | Specialist use only |
| Ca 19.9 | B | Ochre | 2 | <37 U/L | 1 week | Specialist use only |
| Calcitonin | B | Green | 2 | <9 ng/L | 2 weeks | Medullary Thyroid Cancer diagnosis and f/up only. |
| Calcium(adj) | B | Ochre | 2 | 2.20 – 2.60 mmol/L | 1 day |  |
| Calcium (urine) | U | White universal | 2 | 0.04-0.7mmol/mmol Creat |  |  |
| Calprotectin | F | White universal | 20g | 10 – 50 μg/g faeces | 1 week | For diagnosis of IBD |
| Caeruloplasmin | B | Ochre | 2 | 0.16-0.47 g/L | 1 week | Low in Wilson Disease |
| Cannabinoids | U | White universal | 10 | Qualitative | 1 week |  |
| Carbamazepine | B | Ochre | 2 | 4 – 12 mg/L | 1 day | Levels usually pre-dose |
| CarboxyHb | B | Lavender |  | Non-Smokers 0.5-3.0%; 5% pregnancy and anaemia, up to 15% smokers | POC | Unstable Much higher levels (up to 15%) in smokers. |
| Catecholamines | U | White Universal | 10 | See report | 2 weeks | For Paediatrics only. For adults request metadrenaline or 5HIAA as appropriate. |
| CEA | B | Ochre | 2 | <5 μg/L | 1 week | Not a screening test |
| Chloride | B | Ochre | 2 | 95 – 108 mmol/L | 1 day |  |
| Cholesterol/Trig/LDL/HDL | B | Ochre | 2 | refer to GGC cholesterol guidelines | 1 day | Request Lipid profile if HDL + LDL required. |
| Cholinesterase | B | Lavender | 2 | >5300 IU/L | 2 weeks |  |
| Chromium | B | Lavender | 2 | <40 nmol/L |  | Implant monitoring with cobalt |
| Ciclosporin | B | Lavender | 2 |  | 1 week | Individual targets vary so please discuss with appropriate clinician. |
| Cocaine | U | White universal | 10 | qualitative | 1 week |  |
| Cobalt | B | Lavender | 2 | < 50 nmol/L |  | Implant monitoring with chromium |
| Copper | B | Green | 2 | M 10 – 22 μmol/L F 11 – 25 μmol/L | 1 week | Ochre samples not acceptable |
| Cortisol | B | Ochre | 2 | 240-600 nmol/L (7-9 am) 50-290 (9pm-12am) | 1 day | Can be suppressed by steroid inhalers. Not a screen for Cushings |
| Cortisol/creatinine ratio / 24 hour urine cortisol | U | White universal |  | <40 nmol/mmol creat <165 nmol/24h |  | Screening for Cushings Early morning urine required |
| Test | Sp | Container | Vol (ml) | Reference range (adult) | Result Time | Comments |
| C – peptide | B | Green | 2 | 0.36-1.12 nmol/L fasting | 2 weeks | Must measure with insulin and glucose, rapid transit to lab - unstable |
| CRP | B | Ochre | 2 | < 10 mg/L | 1 day |  |
| CK | B | Ochre | 2 | M 40-320 IU/L F 25-200 IU/L | 1 day |  |
| Creatinine | B | Ochre | 2 | 40 – 130 μmol/L | 1 day | Interpret renal function with eGFR |
| Creatinine (urine) | U | White universal | 2 |  |  |  |
| Cryoglobulin | B | Ochre | 2 | Normally absent | 1 week | Contact lab to arrange sample at 37°C |
| CSF glucose | CSF | Grey | 1 | 2.5 – 4.5 mmol/L | 1 day |  |
| CSF xanthochromia | CSF | White universal | 1 |  | 1 day | Must reach lab ASAP, protect from light. |
| CSF protein | CSF | Grey | 1 | 0.1-0.5 g/L | 1 day | Presence of red cells can give falsely high result. |
| DHAS | B | Ochre | 2 | M 16-50yr 2.5-16µmol/L F 16-50yr 2-12.5 | 2 weeks |  |
| Digoxin | B | Ochre | 2 | 0.5 – 2.0 μg/L | 1 day | At least 6 hours after dose |
| Drug of abuse screen | U | White universal | 10 |  | 1 week |  |
| eGFR | B | Ochre | 2 | 90 – 120 ml/min |  |  |
| Elastase (faecal) | F | White or blue cont | 10 | > 200 μg/g | 4 weeks | Separate spec tube for each faecal test required |
| Erythropoietin | B | Green | 2 | 2.6 – 18.5 U/L | 1 week | For clinical advice on erythropoietin please dw Haematology. |
| Ethanol | B | Grey | 2 |  | 1 day |  |
| Ferritin | B | Ochre | 2 | M 20 – 300 μg/L F 15 – 200 μg/L | 1 day | Raised by acute inflammation |
| FSH | B | Ochre | 2 | M 1.0 – 12.0 u/L | 1 day |  |
| FAI (free androgen index) | B | Ochre | 2 |  | 1 week | No longer available since Androgen Profile introduced |
| GammaGT | B | Ochre | 2 | M < 70 IU/L F < 40 | 1 day | Request separate to LFT if required. |
| Gases | B |  |  | See blood gases | Poc |  |
| Gastrin | B | Green | 2 | <120 ng/L | 2 weeks | Pt must be fasting and off acid blockers for at least 2 weeks unstable |
| Globulins | B | Ochre | 2 | 23 – 38 g/L | 1 day | Request separately if required |
| Glucose | B | Grey | 2 | 3.5 – 6.0 mmol/L | 1 day |  |
| Growth hormone | B | Ochre | 2 |  | 1 week | Fasting. <0.4 ug/L may exclude acromegaly. |
| Gut hormones | B | Trasylol Tube | 3.5 | Please contact lab to arrange |  | Unstable. Fasting. Off PPI for two weeks. D/w lab to supply tube. |
| Test | Sp | Container | Vol (ml) | Reference range (adult) | Result Time | Comments |
| Haptoglobin | B | Ochre | 2 | 0.3 – 2 g/L | 1 week | Levels fall with intravascular haemolysis. |
| HbA1c | B | Lavender | 2 | 20–42 mmol/mol Hb | 2 days |  |
| HCG | B | Ochre | 2 | < 5 u/L | 1 day |  |
| HFE gene | B | Lavender | 2 |  | 4 weeks | Not a front line screen. Send to Genetics. |
| 5HIAA | U | 24 hour acid bottle |  | 5-42 µmol/24 hours | 28 days | Contact lab for 24 hour bottle. Test for carcinoid. |
| Homocysteine | B | Lavender | 2 | 0-20 µmol/L | 2 weeks | Labile – please transport to lab urgently. |
| IGF-1 | B | Ochre | 2 | See GRI age related ranges | 2 weeks | Appropriate ref range will be on report. |
| Immunoglobulin IgA IgG IgM | B | Ochre | 2 | 0.8 – 4.0 g/L 6.0 – 16.0 0.4 – 2.4 | 1 day |  |
| Immunoreactive trypsin | B | 2xguthrie card spots |  |  |  | 2 cards 24 hours apart before six weeks of age. |
| Insulin | B | Green | 2 | <13 mU/L | 2 weeks | Must be fasting with glucose unstable. Send a paired glucose sample. |
| Iron Transferrin Transferrin saturation | B | Ochre | 2 | 10 – 30 μmol/L 2 – 4 g/L 25 – 50 % | 1 day | Please use ferritin to assess iron deficiency. Saturation useful to detect iron overload. |
| Lactate | B | Grey | 2 | 0.5 – 2.2 mmol/L | 1 day |  |
| LDH | B | Ochre | 2 | 80 – 240 IU/L | 1 day |  |
| Lead | B | Lavender | 2 | < 0.5 μmol/L | 1 week |  |
| Lithium | B | Ochre | 2 | 0.4 – 1.0 mmol/L | 1 day | 12 hours post dose |
| LH | B | Ochre | 2 | M 1.0 – 12.0 U/L | 1 day |  |
| Magnesium | B | Ochre | 2 | 0.7 – 1.0 mmol/L | 1 day |  |
| Magnesium (urine) | U | White universal | 2 | 0.2 – 0.6 mmol/mmol Creat | 1 week |  |
| Metadrenalines (urine) | U | Plain 24 hour container |  | Metadrenaline < 350 Normetad’ine < 650 3-MT < 400 Units all nmol/24hr | 28 days | For diagnosis / monitoring of phaeochromocytoma and paraganlgioma |
| Metadrenalines (plasma) | B | Lavender | 2 | Metadrenaline < 510 Normetad’ine < 1180 3-MT < 180 Units all pmol/L | 28 days | Labile. Must reach lab within 2 hours venesection. |
| Methadone | U | White universal | 10 | Qualitative | 1 week |  |
| Methaemoglobin | B | POC only |  | 0.5 – 1.5% | POC | 6 – 7 % may be acceptable with dapsone |
| Methotrexate | B | Ochre | 2 |  | 1 week | Only for patients on methotrexate infusion. |
| NT-Pro BNP | B | Lavender | 2 | Refer to appropriate pathway | 1 day | Only provided for use in approved pathways |
| Oestradiol | B | Ochre | 2 |  | 1 day |  |
| Opiates | U | White universal | 10 | Qualitative | 1 week |  |
| Test | Sp | Container | Vol (ml) | Reference range (adult) | Result Time | Comments |
| Osmolality | B/U | Ochre/ white universal | 2/2 | B 275 – 295 mOsmol/L U 50 – 1200 | 1 day |  |
| Paracetamol | B | Ochre | 2 | Nomogram in BNF | 1 day |  |
| PTH | B | Lavender | 2 | 1.6 – 7.5 pmol/L | 1 week | Unstable beyond one day |
| Phenobarbitone | B | Ochre | 2 | 15 – 40 mg/L | 1 week | Usu predose, not critical |
| Phenytoin | B | Ochre | 2 | 5 – 20 mg/L | 1 day | Usu predose, not critical |
| Phosphate | B | Ochre | 2 | 0.8 – 1.5 mmol/L | 1 day |  |
| Phosphate (urine) | U | White universal | 2 | <16y 15 – 50 mmol/24h | 1 day |  |
| Porphobilinogen | U | White universal | 10 |  | 1 week | Screen for acute intermittent porphyria. Protect from light. Unstable. DW LAB IF NEEDED URGENTLY |
| Porphyrins | B/U/F | Lavender White universal | 2/10/10g |  | 2 weeks | Protect samples from light. Best to send blood and urine if porphyria suspected. Only request faecal prophyrins on specialist advice. |
| Potassium | B | Ochre | 2 | 3.5 – 5.3 mmol/L | 1 day |  |
| Potassium (urine) | U | White universal | 2 |  | 1 day |  |
| PSA | B | Ochre | 2 | <60yrs < 3.0 μg/L <70yrs < 4.0 μg/L >=70yrs < 5.0 μg/L | 1 day | Routine screening not advised. Should only be on patient request. |
| Procalcitonin | B | Ochre | 2 | See report | 1 day | ITU or at direction of microbiology consultant only. Needs to arrive at lab in morning. Wards need to use paper request form. |
| Procollagen III N terminal Peptide (PIIINP) | B | Ochre | 2 | Interpretative ranges on report | 1 week | Methotrexate monitoring. Dermatology only. |
| Progesterone | B | Ochre | 2 | >20 nmol/L confirms ovulation | 1 day | Mid luteal sample needed |
| 17OH Progesterone | B | Ochre | 2 | Adults <6 nmol/L | 1 week | Used in screen for congenital adrenal hyperplasia. |
| Prolactin | B | Ochre | 2 | M <400 mU/L male F <630 mU/L female | 1 week | Macroprolactin excluded by PEG precipitation. |
| Protein | B | Ochre | 2 | 60 – 80 g/L | 1 day | Request separately if required |
| Protein/creat ratio | U | White universal | 10 | < 30 mg/mmol creat | 1 day |  |
| Protein electrophoresis | B | Ochre | 2 | Qualitative | 1 week | Secondary tests may take longer |
| qFIT | F | qFIT picker tube | N/A | <9 ug Hb/g faeces | 1 week | Primary care only |
| Reducing substances | F | This test is no longer available |  |  |  |  |
| Test | Sp | Container | Vol (ml) | Reference range (adult) | Result Time | Comments |
| Renin concentration | B | Lavender | 2 | <40 mIU/L supine <52 ambulant | 2 weeks | Rapid transfer to lab needed unstable |
| Salicylate | B | Ochre | 2 | mg/L | 1 day | Levels may continue to rise for several hours |
| SHBG | B | Ochre | 2 | M 13 – 70 nmol/L F 20 – 155 nmol/L | 2 weeks | Of limited utility now that FAI not calculated. |
| Sodium | B | Ochre | 2 | 133 – 146 mmol/L | 1 day |  |
| Sodium (urine) | U | White universal | 2 | <16y 40 – 220 mmol/24h |  |  |
| Tacrolimus | B | Lavender | 2 |  | 1 week |  |
| Testosterone | B | Ochre | 2 | M 10 – 36 nmol/L F <1.5 nmol/L | 1 week |  |
| Theophylline | B | Ochre | 2 | adult 10-20 mg/L 1m – 1y 5-15 | 1 day | GGC Medicines handbook advises 8-12 hr post dose. BNF advises 4 -6 hrs post dose for slow release preparations. |
| TPMT (thiopurine methyl transferase) | B | Lavender | 2 | Normal 35 – 79 nmol/gHb/hr | 1 week | Recommend checking levels before starting azothioprine. |
| TSH | B | Ochre | 2 | 0.35 – 5.0 mu/L | 1 day | See below for pregnancy levels |
| Thyroxine(FT4) | B | Ochre | 2 | 9 – 21 pmol/L | 1 day |  |
| Total T3 | B | Ochre | 2 | 0.9 – 2.5 nmol/L | 1 day |  |
| Troponin (high sensitivity) | B | Green gel (IP/OP), Ochre (GP) | 2 | F ≤16 ng/L M ≤36 ng/L | 1 day | Measure in accordance to local protocol |
| Tryptase | B |  |  |  |  | Request via immunolgy |
| Urate | B | Ochre | 2 | M 200 – 430 µmol/L F 140– 360 µmol | 1 day |  |
| Urate (urine) | U | Plain 24 hour container | 2 | <16y 1.5 – 4.5 mmol/24h |  |  |
| Urea | B | Ochre | 2 | 2.5 – 7.8 mmol/L | 1 day |  |
| Urea (urine) | U | White universal | 2 |  | 1 day |  |
| Valproate | B | Ochre | 2 |  | 1 day | Only useful to detect toxicity or non-compliance. |
| Vitamin D | B | Ochre |  |  | 1 week | Do not repeat for at least 6 months (half-life 30 days) |
| Vitamin E /cholesterol | B | Green | 2 | 3.5-9.5 μmol/mmol cholesterol | 1 week | Protect from light |
| Vitamins (other) | B | Green (A,C,E,K) Lavender (B1,2,6) | 10 | Please refer to GRI handbook – vitamin C rarely needed and must reach RAH lab within 4 hours |  |  |
| Xanthochromia | CSF | White universal | 2 |  | 1 day | Must reach lab ASAP, protect from light. |
| Zinc | B | Green (non gel) | 2 | M 11 – 18 μmol/L F 10 – 18 μmol/L | 1 week | Ochre and Green gel samples not acceptable. Needs to reach RAH lab within 4 hours |

## Phone Limits

NHSGGC follows the Royal College of Pathology guidance on telephoning abnormal results to requestors.

Results from primary care will be phoned to the GP practice. If the results become available outwith normal working hours they will phoned to the GP out of hours service. They will also be phoned to the patient’s GP practice when the practice reopens unless the patient has been admitted to secondary care.

Results from secondary care will be phoned to the requesting ward (inpatient) or Consultant secretary (outpatient). For results available out of hours for out patient clinics, the results will be reviewed by the on-call Biochemist to determine whether they need to be phoned to the on-call physician for the specialty the requestor belongs to.

Results will only be automatically phoned when they first become abnormal. Results may not be phoned if they do not demonstrate a significant change from previous results.

Results may be phoned if they do not meet these criteria during the laboratory’s normal working hours at the discretion of the duty Biochemist, where it is felt that drawing the results to the attention of the requestor before they might otherwise be routinely reviewed is likely to be helpful.

| Test (serum / plasma) | Patient Group | Lower limit | Upper Limit | Units |
| --- | --- | --- | --- | --- |
| Sodium | ≥ 16 years old | 120 | 155 | mmol/L |
| Sodium | < 16 years old | 130 | 155 | mmol/L |
| Potassium | All | 2.5 | 6.5 | mmol/L |
| Bicarbonate | All | 10 |  | mmol/L |
| Adjusted Calcium | ≥ 16 years old | 1.8 | 3.5 | mmol/L |
| Adjusted Calcium | < 16 years old | 1.8 | 3.0 | mmol/L |
| Calcium (not adjusted) | Adjusted calcium result not available | 1.8 | 3.5 | mmol/L |
| Phosphate | All | 0.3 |  | mmol/L |
| AST | ≥ 16 years old |  | 1000 | U/L |
| AST | < 16 years old |  | 500 | U/L |
| ALT | ≥ 16 years old |  | 1000 | U/L |
| ALT | < 16 years old |  | 500 | U/L |
| CK | All |  | 5000 | U/L |
| Glucose | ≥ 16 years old | 2.5 | 30 | mmol/L |
| Glucose | < 16 years old | 2.5 | 15 | mmol/L |
| Lactate | ≥ 16 years old |  | 4.0 |  |
| Lactate | < 16 years old |  | 3.0 |  |
| Amylase | All |  | 500 | U/L |
| Salicylate | All |  | 350 | mg/L |
| Paracetamol | All |  | 5 | mg/L |
| Magnesium | All | 0.4 |  | mmol/L |
| Digoxin | All |  | 2.5 | µg/L |
| Phenytoin | All |  | 30 | mg/L |
| Carbamazepine | All |  | 24.9 | mg/L |
| Theophylline | All |  | 24.9 | mg/L |
| Lithium | All |  | 1.0 | mmol/L |
| Ammonia | All |  | 100 | µmol/L |
| Bilirubin (total) | <8 weeks age |  | 300 | µmol/L |
| Bilirubin (conj) | <8 weeks age |  | 25 | µmol/L |
| Urea | Not Renal, ≥ 16 years old |  | 30 | mmol/L |
| Urea | Not Renal, < 16 years old |  | 15 | mmol/L |
| Creatinine | Not Renal, ≥ 16 years old |  | 400 | µmol/L |
| Creatinine | Not Renal, < 16 years old |  | 150 | µmol/L |
| CRP | Primary care only |  | 300 | mg/L |
| Troponin (high sensitivity) | Primary care, male |  | 34 | ng/L |
| Troponin (high sensitivity) | Primary care, not male |  | 16 | ng/L |
| Troponin (high sensitivity) | Emergency departments only |  | 200 | ng/L |
| Cortisol | When not part of Dexamethasone suppression test. | 50 |  | nmol/L |

PAEDIATRIC SAMPLES

Minimum sample volumes for paediatric samples are listed in the table below. If obtaining adequate sample volume has been problematic and sample is small in a neonate, please discuss with the duty Biochemist to arrange for tests to be prioritised.

Lithium Hep tubes (1.8 ml) are used for all tests except fluoride for glucose and EDTA for Ammonia and HbA1c.

The table below outlines approximately how much the tube requires to be filled to ensure analysis is possible.

| TEST | Fraction of tube |
| --- | --- |
| U&E | 0.25 |
| LFT | 0.25 |
| U&E, LFT | 0.5 |
| SBR | 0.25 |
| U&E,SBR | 0.5 |
| U&E,LFT,SBR,Ca,Mg | 0.5 |
| Ca,Mg,SBR | 0.25 |
| Theophylline | 0.25 |
| Glucose | 0.25 |
| Copper | 0.5 |
| Zinc | 0.5 |
| Copper,Zinc | 0.75 |
| CRP | 0.25 |
| TFT | 0.5 |
| AA’s | 1.0 |

REFERENCE RANGES FOR MATERNITY AND NEONATES – these ranges are for guidance only.

| Test | Maternal |  |  | Premature neonates |
| --- | --- | --- | --- | --- |
|  | 1st trimester | 2nd trimester | 3rd trimester |  |
| TSH mU/L | 0.09-2.84 | 0.18-2.81 | 0.30-2.92 |  |
| FT4 pmol/L | 10 - 18 | 9 - 16 | 8 - 14 |  |
| Total T3 nmol/L | 1.24-2.75 | 1.42-3.21 | 1.35-3.19 |  |
| Sodium mmol/L |  |  | 132-140 | 130-145 |
| Potassium mmol/L |  |  | 3.2-4.6 | 3.5-6.0 |
| Chloride mmol/L |  |  | 97-107 | 95-110 |
| Bicarbonate mmol/L |  |  | 18-26 | 15-25 |
| Urea mmol/L |  |  | 1.0-4.0 | <7.0 day1-7 <3.5 >day 7 |
| Creatinine μmol/L |  |  | 40-85 | <80 |
| Total protein g/L |  |  | 55-70 | 45-65 |
| Albumin g/L |  |  | 32-42 | 25-35 |
| Bilirubin μmol/L |  |  | 3-14 |  |
| Alk phos IU/L |  |  | <230 | <600 |
| AST IU/L |  |  | <40 | <80 |
| ALT IU/L |  |  | <40 | <80 |
| GGT IU/L |  |  | <40 | <80 |
| Ammonia μmol/L |  |  |  | Pre <180 Term <100 |
| Calcium mmol/L |  |  | 2.1-2.5 (adj) | 2.0-2.4 (unadj) |
| Copper μmol/L |  |  |  | 7-18 |
| Ferritin μg/L |  |  |  | 1st month 450-500 2nd month 80-500 3rd month 20-200 |
| IgM g/L |  |  |  | <0.2 |
| Magnesium mmol/L |  |  | 0.6-0.8 | 0.7-1.2 |
| Theophylline mg/L |  |  |  | 5-10 |
| Urate mmol/L |  |  | <340 |  |

Request Intervention

For some analytes where repeat sampling within a timeframe is out with current clinical guidelines, or will produce a result which cannot be safely interpreted (not enough time has elapsed to allow a new steady state to arise after a change in therapy) the request will be blocked automatically by the laboratory IT system and the requestor invited to contact the laboratory to discuss a repeat if it is felt to be clinically justified. Current tests and request intervention periods are outlined below:

| Test | Period | Test | Period | Test | Period |
| --- | --- | --- | --- | --- | --- |
| Cholesterol / Triglycerides | 28 days | B12 | 28 days | Beta carotene | 14 days |
| Lipid profile | 28 days | Serum folate | 28 days | Copper (plasma) | 14 days |
| Serum Electrophoresis | 90 days | Ferritin | 28 days | Manganese | 14 days |
| TFTs | 30 days |  |  | Selenium | 14 days |
| Total T3 | 30 days | Faecal Calprotectin | 120 days | Vitamins A, B1, B2, B6, E, K | 14 days |
| Vitamin D | 340 days |  |  | Zinc | 14 days |

Test Profiles

The tests done when a set of tests eg U&Es is requested can vary nationally. The test profiles used in NHSGGC are outlined below.

| Set | Tests | Notes |
| --- | --- | --- |
| U&E | Sodium, Potassium, Chloride, Urea, Creatinine, eGFR |  |
| Paediatric U&E | Sodium, Potassium, Chloride, Bicarbonate, Urea, Creatinine | Paediatric creatinine by enzymatic method. |
| LFTs | Bilirubin, ALT, AST, Alkaline Phosphatase, Albumin |  |
| Paediatric LFTs | Total Bilirubin, Conjugated Bilirubin, Unconjugated Bilirubin, ALT, AST, Alkaline Phosphatase, Albumin | Split bilirubin if age <= 26 weeks. |
| Bone | Calcium, Adjusted calcium, Phosphate, Albumin, Alk Phos |  |
| Proteins | Total Protein, Albumin, Globulins |  |
| Immunoglobulins | IgA, IgG, IgM |  |
| Lipid Profile | Cholesterol, Triglycerides, HDL, LDL (calculated), VLDL (calculated), Cholesterol to HDL ratio | LDL calculated by Friedewald equation (LDL = Total cholesterol - HDL - (triglycerides/2.2)). Equation is not valid if triglycerides >4.5 and LDL result will not be provided under these circumstances. |
| Cholesterol and Triglycerides | Cholesterol, Triglycerides |  |
| Testosterone (male) | Testosterone, SHBG, Free Testosterone (if Testosterone < 12) |  |
| Serum Electrophoresis | Total Protein, Paraprotein ID, Paraprotein Quantitation, IgG, IgA, IgM |  |
| TFTs | TSH, fT4 |  |

Unstable Analytes

Some analytes are unstable and need to reach the laboratory promptly and / or be treated in a special manner (protected from light etc). Where sample receipt is time critical, analysis can often only be performed on samples from secondary care.

When requested through Trakcare time critical samples will typically be labelled “*LABILE*”.

# NUTRITION

### Nutrition Support Team

A combined support teams operates within Clyde – at Inverclyde and the Royal Alexandra. These are multidisciplinary teams who can provide advice for complex nutritional problems.

Please refer to the PN referral process document on the Clyde Biochemistry Website to refer patients who require parenteral nutrition to the Nutrition team: Clyde Biochemistry - NHSGGC

# Accreditation

Clyde Biochemistry Laboratories (those based at Royal Alexandra Hospital, Inverclyde Royal Hospital and Vale of Leven Hospital) are accredited with UKAS to standard ISO 15189:2022. The certificate of accreditation is available online.

The scope of our accreditation includes the majority of the tests performed by our laboratories, with a small number of tests not falling within our accreditation status (for example, no fluid analyses (on fluids other than CSF, urine or blood / serum / plasma) or POC tests are accredited). Some tests performed in referral laboratories may also not be accredited.

Our accreditation is limited to those activities described on our UKAS schedule of accreditation found here.

The following list contains analyses which fall under our accreditation status:

| Urine Tests | Calculated urine tests | CSF Tests |
| --- | --- | --- |
| Albumin | Albumin/Creatinine Ratio | Glucose |
| Bence Jones proteins ( BJP) | Calcium/Creatinine Ratio | Protein |
| Chloride | Creatinine clearance |  |
| Creatinine | Phosphate/Creatinine Ratio |  |
| Potassium | Protein/Creatinine Ratio |  |
| Sodium | Urate/Creatinine Ratio |  |
| Total protein |  |  |
| Urea |  |  |
| Urine Immunofixation |  |  |
| Urine osmolality |  |  |

| Blood (serum / Plasma / whole blood as appropriate) |  |  | Calculated Blood Test Results |
| --- | --- | --- | --- |
| AFP | Folate | Salicylate | Adjusted/corrected Calcium |
| Albumin | FSH | Serum Electrophoresis | eGFR |
| Alcohol | FT4 | Serum Immunofixation | Globulin |
| Alkaline Phosphatase | Gamma Glutamyl Transferase | SHBG | LDL Cholesterol |
| ALT | Gentamicin | Sodium | Protein/Creatinine Ratio |
| Ammonia | Glucose | Testosterone | Transferrin Saturation |
| Amylase | HbA1c | Theophylline | VLDL |
| Anti-TPO | hCG | Troponin (high sensitivity) |  |
| AST | HDL-Cholesterol | Transferrin |  |
| Beta 2 Microglobulin | IgA | TSH |  |
| Bicarbonate | IgG | Total T3 |  |
| Bilirubin, direct | IgM | Urate |  |
| Bilirubin, total | Iron | Urea |  |
| CA 125 | Lactate | Valproate |  |
| CA 19-9 | Lactate Dehydrogenase (LDH) | Vancomycin |  |
| Calcium | LH | Vitamin B12 |  |
| Carbamazepine | Lithium | Vitamin D |  |
| CEA | Macroprolactin |  |  |
| Cholesterol | Magnesium |  |  |
| Chloride | Oestradiol |  |  |
| Cortisol | Osmolality |  |  |
| C-Reactive Protein | Paracetamol |  |  |
| Creatine Kinase (CK) | Phenytoin |  |  |
| Creatinine | Potassium |  |  |
| Cryoglobulin screen | Progresterone |  |  |
| Cryofibrinogen screen | Prolactin |  |  |
| Digoxin | PIIINP |  |  |
| Ethanol | PSA |  |  |
| rritin | PTH |  |  |