NHS GGC: Doffing the DRAGER PAPR System

|  |  |
| --- | --- |
| **1.** | The HCW must not remove the hood or switch off the PAPR unit until out of the AGP area |
| **2.** | On leaving the AGP area, the HCW must immediately go to the designated doffing / decontamination area. |
| **3.** | The HCW will remove their gloves then gown, discard in clinical waste bin and undertake hand hygiene using ABHR and put on a fresh pair of gloves. |
| **4.** | The HCW will clean the visor section of the hood with a Clinell (Green) wipe and discard the wipe into a clinical waste bin. Remove gloves and use ABHR. |
| **5.** | The HCW will remove the hood using loops under chin and by pulling away from the face carefully and place in the designated cleaning area. |
| **6.** | The HCW will switch off the PAPR unit. |
| **7.** | The HCW will disconnect the hose from the hood. |
| **8.** | The HCW will unclip the belt and place unit and belt with the hose still connected, on to the designated cleaning area. |
| **9.** | The HCW will undertake hand hygiene with ABHR and apply an FRSM. |
| **10.** | The HCW will then follow the instructions for cleaning the PAPR unit and system. |

January 2021